## Equipment
ItemType | Capacity | Pressure | PowerConsumption | Manufacturer | Model | UnitPrice
Blower | 25 | 600 | 55 | Kubicek | 80B | 35000
Blower | 30 | 600 | 60 | Kubicek | 85B | 40000
Blower | 35 | 600 | 65 | Kubicek | 90B | 45000
Blower | 40 | 600 | 70 | Kubicek | 95B | 50000
Blower | 45 | 600 | 75 | Kubicek | 90B | 45000
Blower | 50 | 600 | 80 | Kubicek | 95B | 50000
Blower | 55 | 600 | 85 | Kubicek | 100B | 55000
Blower | 60 | 600 | 90 | Kubicek | 105B | 60000

## Valve
ItemType | Operation | Size | ConnectionType | Supplier | Manufacturer | UnitPrice
Butterfly valve | Manual | 50 | Wafer | MVV | MVV 5.21 | 13
Butterfly valve | Manual | 65 | Wafer | MVV | VAG cerex | 114
Butterfly valve | Manual | 80 | Wafer | MVV | VAG cerex | 120
Butterfly valve | Manual | 150 | Wafer | MVV | VAG cerex | 247
Butterfly valve | Manual | 150 | Wafer | MVV | MVV 5.21 | 47
Butterfly valve | Manual | 200 | Wafer | MVV | MVV 5.21 | 78
Butterfly valve | Manual | 200 | Wafer | MVV | VAG cerex | 336
Butterfly valve | Manual | 250 | Wafer | MVV | VAG cerex | 486

## Instrument
ItemType | OperationPrinciple | InstallationType | MediumToMeasure | Supplier | Manufacturer | UnitPrice
MLSS sensor | Immersible | Tank wall | Waste water | Hach Lange | Hach Lange | 5600
TT and PH transmitter | Immersible | Tank wall | Waste water | Hach Lange | Hach Lange | 1400
Pressure transmitter | Pressure | Flange | Waste water | Hach Lange | Siemens | 570
Level switch | Capacitive | Flange | Waste water | Hach Lange | Siemens | 222
Level transmitter | Radar | Tank wall | Waste water | Hach Lange | Siemens | 270
Flow transmitter | Electromagnetic | Pipe | Sludge | Hach Lange | Siemens | 1100